March 30, 2020

Honorable City Council:

RE: Petition No. 297 by Antonia Diana Bud, request for berm parking at 12080 Cloverdale.

Petition No. 297 by Antonia Diana Bud, request for encroachment with berm parking on the north side of Oakman Boulevard, 175 feet wide, between Cloverdale Avenue, 60 feet wide, and the public alley, 18 feet wide, first east of Cloverdale Avenue.

The petition was referred to the City Engineering Division – DPW for investigation and report. This is our report.

The request is being made to provide employee and customer parking for Antonia Diana Bud located at 12080 Cloverdale.

The request was approved by the Solid Waste Division – DPW, and City Engineering Division – DPW. Traffic Engineering Division – DPW (TED) has requirements that will have to be met. The TED requirements are a part of the resolution.

Detroit Water and Sewerage Department (DWSD) has no objection to the petition. The standard DWSD provisions for encroachments have been made a part of the resolution*.*

All other involved City Departments and privately owned utility companies have reported no objections to the encroachment. Provisions protecting all utility installations are part of the attached resolution.

I am recommending adoption of the attached resolution.

Respectfully submitted,

Richard Doherty, P.E., City Engineer

City Engineering Division – DPW

/JK

Cc: Ron Brundidge, Director, DPW

 Mayor’s Office – City Council Liaison

COUNCIL MEMBER\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

RESOLVED, that the Department of Public Works, City Engineering Division is hereby authorized and directed to issue permits to Antonia Diana Bud to install and maintain an encroachment with berm parking on the north side of Oakman Boulevard, 175 feet wide, between Cloverdale Avenue, 60 feet wide, and the public alley, 18 feet wide, first east of Cloverdale Avenue. The encroachments further described as follows: Land in the City of Detroit, Wayne County, Michigan being the southerly 12.1 feet of the northerly 32.1 feet of Oakman Boulevard, 175 feet wide, lying southerly of and adjoining the southerly line of the west 100 ft. of Lot 128 “Grand River Park Subdivision of part of Sections 28 & 33 T.1S.,R.11E. Greenfield Township, Wayne County, Michigan” as recorded in Liber 32, Page 77 of Plats, Wayne County Records.

PROVIDED, that if there is any cost for the removing and/or rerouting of any utility facilities, it shall be done at the expense of the petitioner and/or property owner; and be it further

PROVIDED, that access is maintained to all fire department connections, and be it further

PROVIDED, the design of the berm parking area meets all necessary standards and is approved by the Department of Public Works prior to any construction or usage; and be it further

PROVIDED, that by approval of this petition the Detroit Water and Sewerage Department (DWSD) does not waive any of its rights to its facilities located in the right-of-way, and at all times, DWSD, its agents or employees, shall have the right to enter upon the right-of-way to maintain, repair, alter, service, inspect, or install its facilities. All costs incident to the damaging, dismantling, demolishing, removal and replacement of structures or other improvements herein permitted and incurred in gaining access to DWSD’s facilities for maintenance, repairing, alteration, servicing or inspection caused by the encroachment shall be borne by the petitioner. All costs associated with gaining access to DWSD’s facilities, which could normally be expected had the petitioner not encroached into the right-of-way, shall be borne by DWSD; and be it further

PROVIDED, that DWSD requires a vertical clearance of 18 feet above grade for maintenance access and repair, and be it further

PROVIDED, that all construction performed under this petition shall not be commenced until after (5) days written notice to DWSD. Seventy-two (72) hours’ notice shall also be provided in accordance with P.A. 53 1974, as amended, utilizing the MISS DIG one call system; and be it further

PROVIDED, that construction under this petition is subject to inspection and approval by DWSD forces. The cost of such inspection shall, at the discretion of DWSD, be borne by the petitioner; and be it further

PROVIDED, that if DWSD facilities located within the right-of-way shall break or be damaged as the result of any action on the part of the petitioner, then in such event the petitioner agrees to be liable for all costs incident to the repair, replacement or relocation of such broken or damaged DWSD facilities; and be it further

 PROVIDED, that the petitioner shall hold DWSD harmless for any damages to the encroaching device constructed or installed under this petition which may be caused by the failure of DWSD’s facilities; and be it further

PROVIDED, Antonia Diana Bud shall apply to the Buildings and Safety Engineering Department for a building permit prior to any construction. Also, if it becomes necessary to open cut public streets, bore, jack, occupy or barricade city rights-of-way for maintenance of encroachments such work shall be according to detail permit application drawings submitted to the City Engineering Division – DPW prior to any public right-of-way construction; and further

PROVIDED, that the necessary permits shall be obtained from the City Engineering Division – DPW with approval by Traffic Engineering Division – DPW; and the Buildings and Safety Engineering Department. The encroachments shall be constructed and maintained under their rules and regulations; and further

PROVIDED, that all cost for the construction, maintenance, permits and use of the encroachments shall be borne by Antonia Diana Budor their assigns, and further

PROVIDED, that all costs incurred by privately owned utility companies and/or city departments to alter, adjust, and/or relocate their existing utility facilities located in close proximity to the encroachments shall be borne by Antonia Diana Bud. Should damages to utilities occur Antonia Diana Budor their assigns shall be liable for all incidental repair costs and waives all claims for damages to the encroaching installations; and further

PROVIDED, that no other rights in the public streets, alleys or other public place shall be considered waived by this permission which is granted expressly on the condition that said encroachments shall be removed at any time when so directed by the City Council, and the public property affected shall be restored to a condition satisfactory to the City Engineering Division – DPW; and further

PROVIDED, that Antonia Diana Budor their assigns shall file with the Department of Public Works – City Engineering Division an indemnity agreement in form approved by the Law Department. The agreement shall save and protect the City of Detroit from any and all claims, damages or expenses that may arise by reason of the issuance of the permits and the faithful or unfaithful performance of Antonia Diana Budor their assigns of the terms thereof. Further, Antonia Diana Budor their assigns shall agree to pay all claims, damages or expenses that may arise out of the use, repair and maintenance of the proposed encroachments; and further

PROVIDED, that filing of said indemnity agreement and construction of the encroachments shall be construed as acceptance of this Resolution by the “permitee”; and further

PROVIDED, that all cost for the construction, maintenance, permits and use of the encroachments shall be borne by Intersection Consulting Group, or their assigns; and further

PROVIDED, this resolution or part thereof is revocable at the will, whim or caprice of the City Council, and Antonia Diana Bud acquires no implied or other privileges hereunder not expressly stated herein; and further

PROVIDED, that the encroachment permits shall not be assigned or transferred without the written approval of the City Council; and be it further

PROVIDED, that the City Clerk shall within 30 days record a certified copy of this resolution with the Wayne County Register of Deeds.