PROVISIONS FOR ENCROACHMENT

We will agree to the proposed encroachment subject to the fulfilling of the following provisions:

1. 	Detroit Water and Sewerage Department forces shall have free and easy access to the water main and/or sewer facilities at all times to permit proper operation, maintenance and if required, alteration or repair of the water main and/or sewer facilities. Free and easy access shall means that no structures or storage of materials will be allowed upon the area of encroachment to hinder the movement of maintenance equipment.

2. 	Any proposed fence must have a gate installed to permit access for DWSD forces. The gate shall remain unlocked 24 hours a day, unless a guard is stationed near the gate to allow the Detroit Water and Sewerage Department ingress and egress at any time. The minimum dimensions of the gate or gates shall provide 15 foot vertical and 13 foot horizontal clearances for freedom of D.W.S.D. equipment movement.

3. 	Should the water main and/or sewer facilities be broken or damaged as a result of any action on the part of the petitioner or assigns, then in such event the petitioner or assigns shall be liable for all costs incident to the repair of such broken or damaged water main and appurtenances, and waives all claims for damages.

These provisions must be made a part of the City Council's Resolution granting the encroachment of the subject street.