CITY OF DETROIT

SPECIAL PROVISION

FOR

EXCAVATION, EARTH, MODIFIED

1 of 1

DET:MCS                                                                                          Revised: 01-12-12

Description.  This work consists of excavating materials not otherwise addressed in the contract as a separate work item.  This work will be done in accordance with section 205 of the 2012 Michigan Department of Transportation (MDOT) Standard Specifications for Construction, except debris and non hazardous material when encountered, shall not be paid for separately. Experience has shown that most or all of earth excavation may be debris and may require hauling to special disposal sites which will accept this type of material.

Measurement and Payment. “Excavation, Earth, Modified" will be measured per cubic yards.  The contract unit price will be payment in full for furnishing all labor, equipment, and materials necessary to excavate and dispose of the material.  Where masonry and concrete structures and heavy foundations are encountered, their removal will be paid for as specified for these items.

Pay Item								 Pay Unit

Excavation, Earth, Modified				                        Cubic Yard