CITY OF DETROIT

SPECIAL PROVISIONS

FOR

HMA APPROACH, MODIFIED

1 of 1

DET: MCS/UP									        Revised: 05-12-12

Description  "HMA Approach, Modified" shall conform to the requirements for “Placing HMA Approaches” of  Section 501.03 of the 2012 Michigan Department of Transportation Standard Specifications for Construction except  work shall include the construction of Butt Joints when meeting existing pavements and will not be paid for separately. The depth of the Butt Joints shall be as directed by the Engineer.

Materials	The HMA mixture for the HMA Approach shall be that specified in the Special Provision for HMA Application Estimate. The HMA mixture to be used for the Butt Joint shall be that used for the leveling HMA mixture as specified in the Special Provision for HMA Application Estimate.

Measurement and Payment "HMA Approach, Modified" will be measured per ton. The contract unit price shall include all labor, material and equipment necessary to furnish, place and compact the HMA Approach, Modified as shown on the plans or as directed by the Engineer.

Pay Item									Pay Unit

HMA Approach, Modified							Ton