CITY OF DETROIT

SPECIAL PROVISIONS

# FOR

TOPSOIL SURFACE, FURN, LM, MODIFIED

1 of 1

## Revised: 03-132

DESCRIPTION:

"Topsoil Surface, Furn, LM, Modified" shall be in accordance with Section 816 of the 2012 MDOT Standard Specifications for Construction except as herein modified.  The depth of topsoil placed shall vary as required to provide a uniform slope after modifying the top of curb elevation.  The preparations of the foundation shall be as specified in the 2012 MDOT Standard Specifications for Construction.  Lawn sprinkler systems, if encountered, shall be protected by the Contractor at no extra cost.

METHOD OF MEASUREMENT AND BASIS OF PAYMENT:

"Topsoil Surface, Furn, LM, Modified" shall be measured and paid for per cubic yard (loose measure).  The contract unit price shall be payment in full for furnishing all materials, labor and equipment necessary to complete the work.

Pay Item										Pay Unit

Topsoil Surface, Furn, LM,  Modified			                               	          Cubic Yard